**AGRO PARK DEVELOPMENT COMPANY LIMITED**

**Report:** Daily – Weekly Report

**Unit:** Facility

**Date:** March 14th , 2020

**Prepared by:** Akinyemi Samuel Olaoluwa

**Activity Period:** March 8th , 2020 through March 14th , 2020.

**Team Lead:** Mr Anibi Micheal

**Team Member(s):** Akinyemi Samuel Olaoluwa

Edwin Okorinama

Olasore Alaba Olarenwaju

This report contains activities that was carried out from March 8th , 2020 through March 14th , 2020.

**Monday**

1. Routine check to all unit for facilities.
2. Supervision on general servicing of all unit generators and grinding machines.
3. Check on Marapco generator service due.
4. Check on facility units record.
5. Supervision of plumbing works at goat and sheep.
6. Supervision on servicing of hostel submersible pumping machine changed 0.5hp with another.
7. Supervision on reconnection of electrical(light) wires to balance load of petrol generators.
8. Personal development.

**Tuesday**

1. Sorting of water needs at hostel, garri and brooding.
2. Routine check and tour of facility operation for new GT.
3. Supervision on laying of pigos to connect snailry borehole to brooding tank.
4. Supervision on repair of APIC generator (gasket-1500, valve-2000) and servicing.
5. Fixing of overfloating generator used at Banow.
6. Fixing of broken pipes used at new rabbitry.
7. Scheduling and executing of water and power need for crop unit and hostels.
8. Personal development.

**Wednesday**.

1. Sorting of facility material need for units
2. Scheduling and supervision of facility work(plumbing) at the new executive lodge(construction).
3. Supervision on blast maintenance (repair and replacement of parts and change of oil).
4. Sorting of water need for units.
5. Taking of building facility names and extinguisher needed on the park
6. Personal development.
7. Servicing of Banow and Distillery generator.

**Thursday**

1. Routine check to all units for facility need.
2. Flushing and servicing of model farm, poultry and Hostel borehole.
3. Supervision on plumbing works (finalizing on connection of snailry borehole to brooding tanks).
4. Check on Marapco generator service due(80KVA due for service).
5. Supervision of works done at the new executive lodge (plumbing).
6. Sorting of water needs at hostel and units.
7. Repair and replacement of crop pumping machine(plug and servicing).

**Friday**

1. Sorting of water needs at the hostels , model farm, Booku, and post harvest
2. Supervision on start-up digging for reconnection of model farm and nursery water pipes.
3. Changing of pumping machine at hostel borehole after the former developed fault.
4. Servicing of organic grinding machine and washing of fuel tank for crop mpm.
5. Coupling of new mud pumping machine for crop unit.

**Saturday**

1. Routine check to all units based on facility.
2. Supervision of works done at model farm(reconnection of broken nursery taps and connection of water to the green house), reconnection of pipes to the model farm tanks.
3. Supervision on servicing of livestock generator.
4. Changed two spoilt tank of mud pumping machine used to pump water to the reservoir (existing=#3000\*2=6000).
5. Call upon repair of another pumping machine at the crop unit, change of plug (existing=#200).
6. Servicing and repair of pumping machine at fishery.
7. Servicing of industrial surface of pumping machine used at FADAMA and service of distiller generator.
8. Sorting of water issues at the model farm.
9. Supervision of new executive lodge plumbing works.