AGRO PARK DEVELOPMENT COMPANY LIMITED

Report: Daily – Weekly Report

Unit: Facility

Date: March 22nd, 2020

Prepared by: Akinyemi Samuel Olaoluwa

Activity Period: March 16th, 2020 through March 22nd, 2020.

Team Lead: Mr Anibi Micheal

Team Member(s): Akinyemi Samuel Olaolu

Olasore Alaba Olanrewaju

This report contains activities that was carried out from March 16th, 2020 to March 22nd, 2020.

**Monday**

1. Supervision on fixing of model farm broken pipes and supply of water to green house(screen house).
2. Sorting of water needs at post harvest, Booku and hostels.
3. Fixing of banow generator (removing of spoilt plug).
4. Sorting of material needed for crop unit (water tap and clips).
5. Servicing of model farm generator and check on all unit mud pumping machine.

**Tuesday**

1. Routine check on Marapco generator service due date.
2. Supervision on servicing of Marapco generator (change of oil and filters, servicing of injector and cleaning).
3. Check on work in progress at new hostel beside OFSP lodge.
4. Supervision on repair of pumping machine at crop unit (Thyme field).

Note: Engine was soaked with water, change of plug and service (Existing=200).

1. Supervision on fixing of broken pipes water connection at model farm.
2. Re-connection of broken pipes in front of feed mill and thyme field.
3. Servicing of thyme generator.

**Wednesday.**

1. Sorting of water needs at Booku, hostels, and model farm.
2. Repair of pumping machine at crop.
3. Routine check to all units to check on facility worries.
4. Fixing of wrong water flow and broken pipes at the thyme field.
5. Personal development.
6. Supervision of APIC work at Brooding scaffold.
7. Supervision of plumbing works at the new executive suites.

**Thursday**

1. Sorting of water needs for nursery, brooding, model farm and gate after pumping machine developed fault.
2. Extracting of submersible pumping machine at former poultry site to fix at model farm.
3. Repair of pumping machine at thyme field.
4. Check on all unit generators and pumping machines.
5. Plumbing works at the model farm nursery.
6. Personal development.
7. Routine check to all units to check on facilities

**Friday**

1. Routine check to all unit to check on facility
2. Supervision on work in progress at the new executive suit
3. Repair and servicing of hostel 1(Honda generator)
4. Supervision on repair and fixing of booku water heater pipe
5. Start up digging of laying of pipe at new rabbitry
6. Taking of borehole and supply of water network on the park

**Saturday**

1. Supervision on re-servicing of hostel generator(Honda)
2. Routine check to booku, to check on marapco generator use
3. Fixing of broken pipe at snailry water supply connection
4. Meeting with Astromatic Nig.ltd on inspection of booku blast
5. Connection of pipes from piggery to new rabbitry and fixied nipple drinkers at piggery

**Sunday**

1. Supervision on repair and service of piggery back up generator
2. Sorting of water needs at hostel and booku for the next day
3. Check on all borehole to improve water flow